Product Description

500V 10A Multifunction DC Two lines' LED display Digital power meter panel watt Voltage current, low price, amps to watt .

Feature:

Can indicate DC power watt, Voltage, Current(0-10A), pressing switch button in the back can choose different indication. Display two parameters in one time.

Memory store after power off: Meter can store the last switch button setting even after power down. Fox example, you set the switch button to power watt, then power off. After power on, the meter will be still in the status of power watt measure.

Suits for solar system, DC motor etc.

The maxim voltage can be up to 1000V as special requirement.

Dimension: 43x79x33mm

Wire Connection:

Range:

DC power voltage Range: DC 15-375V

Voltage Measuring Range : DC 0-500V

Current Measuring Range : DC 0-10A

Power Measuring Range : 0-5000W

Measure accuracy: 0.5% (+/- 2 bit)

Refresh rate: 500mS/time

Operating temperature: -10C to 65